## CAWSC Delta Stn Network May 19
UPDATED MAY 2019
List of current, proposed, and discontinued USGS CAWSC high frequency flow, sediment, and water quality stations in the California Delta with periods of record and funding sources. Notes: -- Unless otherwise noted, data is collected by CAWSC staff in the West Sacramento Projects Office (contacts: Cathy Ruhl, Tara Morgan) and the Biogeochemistry group in Placer Hall (contact: Liz Stumpner). -- Periods of record for comprehensive water quality stations monitoring conducted by the CAWSC Biogeochemistry group (BGC) are given separately. All BGC water quality sampling currently includes sampling with a SUNA nitrate analyzer and YSI EXO2. All of the EXO2 sondes are equipped to measure temperature, conductivity, pH, dissolved oxygen, turbidity, fluorescence of chlorophyll-a, fluorescence of phycocyanin (a tracer for blue-green algae such as Microcystis), and fluorescent dissolved organic matter (fDOM, a proxy for dissolved organic carbon concentrations). Deployment of in situ phosphate analyzers at these stations occurs on a project or event basis, and in situ ammonium analyzers are under development. Other water quality monitoring at these stations is much less comprehensive (e.g. only chlorophyll a, conductivity, and/or temperature).
* Station moved downstream
USGS station name | Common name | CDEC ID | USGS Station number | Latitude (NAD83) | Longitude (NAD83) | URL | Flow | Sediment | Water Quality (entire period of record) | Water Quality (BGC period of record) | Current Funding Agency | Comments (mostly from Cathy Ruhl, with some additional comments by Anke Mueller-Solger)
Current Stations
SACRAMENTO R A FREEPORT CA | Freeport | FPT | 11447650 | 38°27'22" | 121°30'01" | https://waterdata.usgs.gov/nwis/uv/?site_no=11447650 | Oct 1948 - present (1) | 8/30/2013 - present (2) | 11/24/2009 - present (3) | 8/30/2013 - present | SW: Various WQ: Regional San | (1) The current ADVM system records begin October 2004 (2) Data collected by CAWSC Sacramento Field Office (3) There are some water quality records beginning in Oct 1987. BGC took over most WQ data collection 8/30/2013.
SACRAMENTO R AB DELTA CROSS CHANNEL CA | Walnut Grove | SDC | 11447890 | 38°15'28" | 121°31'02" | https://waterdata.usgs.gov/nwis/uv/?site_no=11447890 | 12/22/1992 - present |  | 8/21/2013 - present (1) | 8/21/2013 - present | SW: DWR WQ: USBR | (1) BGC WQ data collection effort only
TOE DRAIN A MALLARD RD NR COURTLAND CA | Toe Drain* | Toe North | 11455139 | 38°21'54.50" | 121°38'15.87" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455139 |  |  | 8/19/2014 - 12/23/2016 (1) | 8/19/2014 - 12/23/2016 | WQ: USBR | This station was discontinued and replaced by 11455140 (1) BGC WQ data collection
TOE DRAIN A LIBERTY ISLAND NR COURTLAND CA | Toe Drain | Toe South | 11455140 | 38°20'57" | 121°38'41" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455140 | 9/17/2014 - 11/22/2018 (1) | 10/1/2016 - 9/30/2018 | 9/16/2014 - 12/27/2018 (2) | 5/23/2017 - 12/27/18 | PROPOSED STATION | (1) The ADVM system is still in place, but is malfunctioning. If this station is integrated into our long-term network we will work on repairing the station. We recommend integrating this station into the long-term network to characterize the hydrology of the Cache Slough Complex and to document the efforts associated with the North Delta Flow Actions in the Toe Drain. (2) BGC took over operation of WQ 5/23/2017
LIBERTY CUT A LITTLE HOLLAND TRACT NR COURTLAND CA | Liberty Cut | Liberty Cut | 11455146 | 38°19'43.86" | 121°40'03.11" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455146 | 9/16/2014 - 11/6/2018 | 10/1/2015 - 1/23/2019 | 1/31/2014 - 1/23/2019 (1) | 1/31/2014 - 01/23/19 | PROPOSED STATION | This station was discontinued since it was not part of the long-term network and does not have continued funding. To characterize the hydrology of the Cache Slough Complex, we recommend that this station be included in the long-term network. (1) BGC WQ data collection effort only
SACRAMENTO R DEEP WATER SHIP CHANNEL NR COURTLAND | Deep Water Shipping Channel | CM 62 | 11455142 | 38°20'30" | 121°38'38" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455142 |  |  | 4/11/2014 - present | 4/11/2014 - present | WQ: USBR | This station has redundant WQ data being collected since 10/18/2017. We recommend discontinuing one sonde after the Summer 2019 nutrient study is complete.
CACHE SLOUGH A RYER ISLAND | Cache Slough* | RYI | 11455350 | 38°12'46" | 121°40'09" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455350 | 3/14/2003 - 4/29/2019 (1) | 8/15/2008 - 9/5/2018 | 8/15/2008 - 9/5/2018 (2) | 2/1/2013 - 9/5/2018 | SW: USBR WQ: USBR Sediment: USBR | (1) This station was discontinued due to damage to the infrastructure. A new station at 11455385 (Cache Slough at Ryer Ferry) was installed downstream as a replacement. Both stations were operated in tandem for as the new station was being rated. (2) BGC began expanded WQ data collection 2/1/2013.
CACHE SLOUGH AB RYER ISLAND FERRY NR RIO VISTA CA | Cache Slough | RYF | 11455385 | 38°11'38.24" | 121°39'28.81" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455385 | 9/2/2018 - present (1) | 6/22/2018 - present | 6/22/2018 - present (1) | 6/22/2018 - present | SW: USBR WQ: USBR Sediment: USBR | (1) This is the replacement station for 11455350
CACHE SLOUGH A S LIBERTY ISLAND NR RIO VISTA CA | Liberty Island | LIB | 11455315 | 38°14'32" | 121°41'10" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455315 | 2/1/2015 - present (1) | 12/20/2010 - present | 12/20/2010 - present (2) | 7/15/2013 - present | SW: USBR WQ: USBR Sediment: USBR | (1) Index velocity data are available starting 11/14/2011 (2) BGC began WQ data collection 7/16/2013
SACRAMENTO R A DECKER ISLAND NR RIO VISTA CA | Decker Island | SDI | 11455478 | 38°05'36" | 121°44'10" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455478 | 4/14/2010 - present (1) |  | 1/15/2010 - present (2) | 1/24/2013 - present | SW: USBR WQ: USBR | (1) Flow is not computed at this station, index velocity is available. (2) Core water quality began on this date; BGC took over O&M when their equipment was installed in 2013.
SAN JOAQUIN R A JERSEY POINT CA | Jersey Point | SJJ | 11337190 | 38°03'08" | 121°41'16" | https://waterdata.usgs.gov/nwis/uv/?site_no=11337190 | 5/11/1994 - present | 10/1/2010 - present | 12/1/2009 - present (1) | 9/12/2016 - present | SW: DWR WQ: USBR Sediment: USBR | (1) BGC took over WQ data collection 9/12/2016
SUISUN BAY A VAN SICKLE ISLAND NR PITTSBURG CA | Confluence | Grizzly | 11455508 | 38°02'58.31" | 121°53'15.18" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455508 |  |  | 12/6/2017 - present | 9/12/2016 - present | WQ: USBR | BGC WQ station
GRIZZLY BAY A SUISUN SLOUGH NR AVON CA | Grizzly |  | 380631122032201 | 38°06'30.71" | 122°03'21.53 | https://waterdata.usgs.gov/usa/nwis/uv?380631122032201 |  |  |  | 12/6/2017 - present | WQ: USBR
SAN JOAQUIN R NR VERNALIS CA | Vernalis | Vernalis | 11303500 | 37°40'34" | 121°15'55" | https://waterdata.usgs.gov/nwis/uv/?site_no=11303500 | 11/30/1986 - present (1) | 10/1/2014-11/5/2016 | 10/1/2007 - present (1) | 1/21/2015 - 10/27/2016 (2) | USGS NAWQA, others | (1) Data collected by CAWSC Sac Field Office, funding source unclear (2) BGC WQ data collected as part of USGS NAWQA in 2015/2016
SAN JOAQUIN R BL GARWOOD BRIDGE A STOCKTON CA |  | SJG | 11304810 | 37°56'08" | 121°19'45" | https://waterdata.usgs.gov/nwis/uv?11304810 | 8/18/1995 - present (1) | 10/1/2009 - present | 12/1/2009 - present |  | SW: Requesting support from IEP (DWR) in renewal contract WQ: USBR Sediment: USBR | (1) Have requested IEP (DWR) support for this station in 2020 and beyond. This station has been supported by the IEP in the past and the City of Stockton no longer provides financial support since they revised their discharge permit requirements.
TURNER CUT NR HOLT CA |  | TRN | 11311300 | 37°59'33" | 121°27'14" | https://waterdata.usgs.gov/nwis/uv?site_no=11311300 | 2/23/2005 - present |  | DWR collects WQ |  | SW: UBRB
VICTORIA CANAL NR BYRON CA |  | VCU | 11312672 | 37°52'15" | 121°31'48" | https://waterdata.usgs.gov/nwis/uv?site_no=11312672 | 2/23/2005 - present | 10/1/2013 - present | DWR collects WQ |  | SW: USBR Sediment: USBR
MIDDLE R AT MIDDLE RIVER CA |  | MDM | 11312676 | 37°56'34" | 121°31'59" | https://waterdata.usgs.gov/nwis/uv?site_no=11312676 | 1/9/1987 - present | 10/1/2009 - present | 12/3/2009 - present |  | SW: DWR WQ: USBR Sediment: USBR
MIDDLE R NR HOLT CA |  | HLT | 11312685 | 38°00'11" | 121°30'39" | https://waterdata.usgs.gov/nwis/uv/?site_no=11312685 | 5/24/2006 - present |  | DWR collects WQ |  | SW: USBR
OLD R NR DELTA MENDOTA CANAL CA |  | ODM | 11312968 | 37°48'38" | 121°32'29" | https://waterdata.usgs.gov/nwis/uv/?site_no=11312968 | 11/17/1999 - present (1) |  | DWR collects WQ |  | SW: DWR | (1) Discharge is only computed when there is no barrier in place
GRANT LINE CN NR TRACY CA |  | GLC | 11313240 | 37°49'12" | 121°32'41" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313240 | 11/28/2005 - present (1) | 10/1/2013 - present | DWR collects WQ |  | SW: DWR Sediment: USBR | (1) Data is available from May 1999 - 2005 at a nearby station (11313200) when there is no barrier in place
OLD RIVER NEAR BYRON CA |  | OH4 | 11313315 | 37°53'28" | 121°34'09" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313315 | 6/25/1999 - present |  | 12/1/2009 - present |  | SW: DWR WQ: USBR
OLD R A BACON ISLAND CA |  | OBI | 11313405 | 37°58'12" | 121°34'16" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313405 | 1/6/1987 - present | 10/1/2009 - present | DWR collects WQ |  | SW: DWR Sediment: USBR
HOLLAND CUT NR BETHEL ISLAND CA |  | HOL | 11313431 | 38°00'59" | 121°34'55" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313431 | 6/8/2006 - present |  | DWR collects WQ |  | SW: USBR
DUTCH SLOUGH BL JERSEY ISLAND RD A JERSEY ISLAND |  | DSJ | 11313433 | 38°00'49" | 121°40'00" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313433 | 2/9/1996 - present |  | 12/9/2009 - present |  | SW: DWR WQ: USBR
OLD R A QUIMBY ISLAND NR BETHEL ISLAND CA |  | ORQ | 11313434 | 38°01'38" | 121°33'52" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313434 | 6/8/2006 - present |  | DWR collects WQ |  | SW: USBR
FALSE R NR OAKLEY CA |  | FAL | 11313440 | 38°03'21" | 121°40'01" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313440 | 6/29/2006 - present |  | DWR collects WQ |  | SW: USBR
OLD R A FRANKS TRACT NR TERMINOUS CA |  | OSJ | 11313452 | 38°04'16" | 121°34'44" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313452 | 5/16/2006 - present |  | DWR collects WQ |  | SW: USBR
SAN JOAQUIN R A PRISONERS PT NR TERMINOUS CA |  | PRI | 11313460 | 38°03'34" | 121°33'26" | https://waterdata.usgs.gov/nwis/uv/?site_no=11313460 | 6/27/2006 - present | 10/1/2009 - present | 10/23/2006 - present |  | SW: USBR WQ: USBR Sediment: USBR
DELTA CROSS CHANNEL NR WALNUT GROVE |  | DLC | 11336600 | 38°14'41" | 121°30'19" | https://waterdata.usgs.gov/nwis/uv/?site_no=11336600 | 8/30/2001 - present (1) |  | 10/1/2009 - present |  | SW: USBR WQ: USBR | (1) Discharge is only computed when the gates are open
LITTLE POTATO SLOUGH A TERMINOUS CA |  | LPS | 11336790 | 38°05'47" | 121°29'46" | https://waterdata.usgs.gov/nwis/uv/?site_no=11336790 | 5/18/2006 - present | 10/1/2009 - present | 11/30/2009 - present |  | SW: USBR WQ: USBR
MOKELUMNE R A ANDRUS ISLAND NR TERMINOUS CA |  | MOK | 11336930 | 38°06'22" | 121°34'16" | https://waterdata.usgs.gov/nwis/uv/?site_no=11336930 | 6/22/2006 - present | 10/1/2009 - present | DWR collects WQ |  | SW: USBR Sediment: USBR
THREEMILE SLOUGH NR RIO VISTA CA |  | TSL | 11337080 | 38°06'12" | 121°41'10" | https://waterdata.usgs.gov/nwis/uv/?site_no=11337080 | 2/16/1994 - present | 10/1/2014 - present | DWR collects WQ |  | SW: DWR Sediment: USBR
SUTTER SLOUGH A COURTLAND CA |  | SUT | 11447830 | 38°19'45" | 121°34'45" | https://waterdata.usgs.gov/nwis/uv/?site_no=11447830 | 12/9/2003 - present |  | 5/22/2014 - 5/4/2016 |  | SW: USBR
STEAMBOAT SLOUGH NR WALNUT GROVE CA |  | SSS | 11447850 | 38°17'05" | 121°35'12" | https://waterdata.usgs.gov/nwis/uv/?site_no=11447850 | 8/30/2001 - present |  | 5/22/2014 - 5/4/2016 |  | SW: USBR
GEORGIANA SLOUGH NR SACRAMENTO R |  | GSS | 11447903 | 38°14'14" | 121°31'03" | https://waterdata.usgs.gov/nwis/uv/?site_no=11447903 | 9/17/2001 - present | 10/1/2009 - present | 12/3/2009 - present |  | SW: USBR WQ: USBR Sediment: USBR
SACRAMENTO R BL GEORGIANA SLOUGH CA |  | GES | 11447905 | 38°14'20" | 121°31'18" | https://waterdata.usgs.gov/nwis/uv/?site_no=11447905 | 1/8/1993 - present |  | 12/3/2009 - present |  | SW: DWR WQ: USBR
MINER SLOUGH A HWY 84 BRIDGE |  | HWB | 11455165 | 38°17'30" | 121°37'51" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455165 | 5/20/2003 - present | 7/16/2008 - present | 8/5/2008 - present |  | SW: USBR WQ: USBR Sediment: USBR
ULATIS C NR ELMIRA CA |  | Ulatis | 11455268 | 38°17'39" | 121°45'35" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455268 | 8/16/2018 - present (1) |  | 1/15/2010 - present |  | SW: USBR WQ: USBR | (1) Flow data data collection started in Summer 2018 -- however high flows damaged the infrastruture. We are re-evaluating the deployment strategy at this site.
SHAG SLOUGH A LIBERTY ISLAND NR COURTLAND CA |  | Shag | 11455276 | 38°19'06" | 121°41'35" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455276 | 8/17/2018 - present | 8/17/2018 - present | 8/17/2018 - present |  | SW: USBR WQ: USBR Sediment: USBR
CACHE SLOUGH NR HASTINGS TRACT NR RIO VISTA CA (Upper Cache Slough) |  | Upper Cache Slough | 11455280 | 38°16'32" | 121°42'33" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455280 | 10/1/2018 - present (1) | 7/22/2008 - present | 7/22/2008 - present |  | SW: USBR WQ: USBR Sediment: USBR | (1) Flow data collection started in Summer 2018 -- however high flows innundated the electronics box causing us to cease data collection until flows receded and the equipment could be re-installed in Spring 2019.
SACRAMENTO R DEEP WATER SHIP CHANNEL NR RIO VISTA |  | DWS (CM 54) | 11455335 | 38°15'22" | 121°40'00" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455335 | 7/22/2008 - present | 8/4/2008 - present | 8/4/2008 - present |  | SW: USBR WQ: USBR Sediment: USBR | (1) This station is being considered for relocation to CM 52 in order to support work on a spatial mapping project for constituent tracking. (2) Expanded WQ to include chlorophyll a began on 10/18/2017 as part of the DWSC water quality work. DO has been collected since 5/5/2015.
SACRAMENTO R A RIO VISTA CA |  | SRV | 11455420 | 38°08'56.56" | 121°41'20.20" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455420 | 4/20/1995 - present | 1/1/2010 - present | 1/1/2010 - present |  | SW: DWR WQ: USBR Sediment: USBR
FIRST MALLARD BRANCH NR FAIRFIELD CA |  | First Mallard | 381142122015801 | 38°11'41.62" | 122°01'58.13" | https://waterdata.usgs.gov/ca/nwis/uv/?site_no=381142122015801 | 7/18/2017 - 9/27/2018 (1) |  | 8/23/2017 - present |  |  | (1) We plan on re-deploying this gear. The original deployment was intended for a short duration (3-month) period and was not configured with an extended period in mind. (2) BGC operates WQ equipment
YOLO BYPASS NR WOODLAND CA |  | YOLO | 1145300 | 38°40'40" | 121°38'35" | https://waterdata.usgs.gov/nwis/uv/?site_no=1145300 | Sac FO | Sac FO | Sac FO (1) |  | Sediment: USBR | This station is operated by CAWSC Sac Field Office
Lisbon Wier |  | LIS | [5 empty] | 10/1/2013 - present |  |  | Sediment: USBR | This station is operated by DWR, but USGS collects sediment samples to develop a suspended-sediment model
Miner Slough near Sacramento River |  | MIR | [5 empty] | 10/1/2014 - present |  |  | Sediment: USBR | This station is operated by DWR, but USGS collects sediment samples to develop a suspended-sediment model
SACRAMENTO R DEEP WATER SHIP CHANNEL NR FREEPORT |  | CM 72 | 11455095 | 38°28'36.73" | 121°35'01.11" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455095 | 8/10/2018 - present |  | 7/11/2018 - present |  | SW: USBR WQ: USBR
SACRAMENTO R DEEP WATER SHIP CHANNEL NR CLARKSBURG |  | CM 66 | 11455136 | 38°24'16.0" | 121°36'52.4" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455136 |  |  | 10/18/2017 - present |  | WQ: USBR
Discontinued (or Partially Discontinued) Stations -- Proposed for future data collection efforts
SUISUN BAY A MALLARD IS CA |  | MAL | 11185185 | 38°02'34" | 121°55'09" | https://waterdata.usgs.gov/nwis/uv?11185185 | 10/2/2012 -5/2/2016 (1) | 2/8/1994 - present | 10/12/2003 - present (2) |  | SW: PROPOSED STATION WQ: SFEI / RMP Sediment: SFEI / RMP | (1) Flow was not accurately computed -- this is an index velocity record. Flow / Index velocity are not currently funded at this location. We have proposed that index velocity at this station be included in future monitoring efforts. (2) Only turbidity WQ data are collected at this location by the USGS.
S MOKELUMNE R A NEW HOPE BR NR WALNUT GROVE CA |  | SMR | 11336680 | 38°13'32" | 121°29'28" | https://waterdata.usgs.gov/nwis/uv/?site_no=11336680 | 12/20/2010 - 10/18/2017 |  | 12/20/2010 - 9/27/2017 |  | PROPOSED STATION | This station lost funding. We believe that this station (in conjunction with the North Fork Mokelumne Station) is important to document the impacts of DCC gate operations, flooding in the Mokelumne System, and restoration efforts in the area (McCormack Williamson Tract).
N MOKELUMNE NR WALNUT GROVE CA |  | NMR | 11336685 | 38°13'24" | 121°30'26" | https://waterdata.usgs.gov/nwis/uv/?site_no=11336685 | 12/13/2010 - 1/11/2017 |  | 12/13/2010 - 1/19/2017 |  | PROPOSED STATION | This station lost funding. We believe that this station (in conjunction with the South Fork Mokelumne Station) is important to document the impacts of DCC gate operations, flooding in the Mokelumne System, and restoration efforts in the area (McCormack Williamson Tract).
New Stations -- Proposed for future data collection efforts
HASS SLOUGH | [11 empty] | We propose to install this station to better characterize the hydrodynamics of this region. The agricultural withdrawls through this channel are one of the primary drivers of the flows in the cache slough complex.
MONTEZUMA SLOUGH NEAR HUNTER'S CUT | [11 empty] | With continued interest in flow action and the impacts on the flow and water quality in the Suisun Marsh region, we recommend a partner station to the DWR station at National Steel which is located near the salnity control structure.
Discontinued Stations
LIBERTY ISLAND NR PROSPECT ISLAND NR RIO VISTA CA (Interior Liberty) |  | Liberty Interior | 381504121404001 | 38°15'04" | 121°40'40" | https://waterdata.usgs.gov/nwis/uv/?site_no=381504121404001 |  |  | 7/7/2010 - 11/29/2017 (1) |  | WQ: USBR | (1) Wave data and limited WQ data were being collected at this location. Data collection ceased in 2017 when Task 1c ended.
PROSPECT SLOUGH A TOE DRAIN NR COURTLAND CA |  | LHTse | 11455167 | 38°17'25.39" | 121°39'44.01" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455167 | 11/12/2014 - 11/6/2018 | 10/1/2015 - 5/23/2018 | 10/27/2014 - 5/23/2018 (1) |  | SW: USBR WQ: USBR Sediment: USBR | (1) During the flux studies, this station had an expanded suite of WQ parameters collected
LITTLE HOLLAND TRACT A NORTH BREACH NR COURTLAND C |  | LHTn | 11455143 | 38°20'07.48" | 121°39'29.47" | https://waterdata.usgs.gov/nwis/uv/?site_no=11455143 | 11/12/2014 - 11/5/2018 | 11/12/2014 - 11/5/2018 | 10/16/2014 - 5/23/2018 (1) |  | SW: USBR WQ: USBR Sediment: USBR | (1) During the flux studies, this station had an expanded suite of WQ parameters collected